

**Patient Instructions**

**TRI SHELL Pneumatic Walker**



**Application Instructions:**

* Undo all of the velcro and remove the front plate from the boot
* Place affected leg into the boot making sure that the heel is all the way at the back
* Wrap the liner around the shin and the foot
* Place the front plate back onto the boot
* Velcro the straps starting at the bottom and working towards the top
* Add air into the air valves on the 2 sides of the boot until it feels snug

**Removal:**

* Air can be removed from the boot to make removal easier
* Undo the Velcro straps
* Take the front plate off
* Undo the liner and remove foot from boot

**Tips**:

* Men’s Sizes
  + Small up to an 8, Medium 8.5 – 11.5, Large 12+
* Women’s Sizes
  + Small up to an 8.5, Medium 9-12, Large 12.5+
* Toe’s can hang over the foot plate slightly (as long as its safe for the patent) if their calf fits into the boot nicely
* The extra pads can be added around the ankle to add more support or make the boot more comfortable for the patient
* Care Instructions: Wipe plastic shell with damp cloth, you may use disinfectant or mild soap, and wipe dry.