# Patient Instructions

ASPEN VISTA 627

Application Instructions:

- Release Velcro closures, open orthosis and lay flat.

- Center back panel in the middle of the back as low as is comfortable.

- Wrap the left then the right panel of the brace around the waist

- Note: Be sure top and bottom of brace is snug. If needed, angle ends to create a snug fit.

- To tighten the brace pull the tabs off and hold onto them with your thumbs.

- Pull the tabs away from the body in a forward direction and then cross in front and place back onto the brace once a desired tightness is achieved.

- Note: Be sure top and bottom of brace is snug. If needed, angle ends to create a snug fit.

Tips:

- Close all contact closures and hand wash in warm water with mild soap. Product should be air-dried, do not use high temperatures to wash or dry.