Patient Instructions

Corflex Pneumatic Knee Splint

1. Remove gel pack and place in freezer for a minimum of 2 hours (see warnings below).

2. Re-attach gel pack inside knee splint, making sure seams line up over knee cap (patella) opening.

3. Grasp knee splint and locate top (note: valve located at top) and place opening over affected knee cap (patella).

4. Secure 2 compression straps to desired fit.

5. Attach tube with bulb to valve.

6. To inflate, switch to “ON” position, pump bulb to desired compression, making sure not to over inflate. To deflate, press button at base of bulb.

7. When desired compression is attained, switch to “OFF” position and remove tube with bulb from valve connection.

Note: splint may also be deflated by removing tube while in “ON” position.

WARNING: recommended cold therapy treatment; 20 minutes on patient, 20 minutes off.

CAUTION:

1. DO NOT OVER INFLATE - improper inflation may inhibit circulation or cause skin irritation

2. Use only after following directions for use

3. Do not use gel pack on area of sensitive skin

4. Cold therapy should not be used by people with circulatory problems unless prescribed by

a physician

5. Gel pack is non-toxic – not intended for ingestion

6. Discard gel pack if punctured or torn